## Qc old data (hidden)
[5 empty] | PCR system: CFX96 Deep Well - Bio Rad | [16 empty] | PCR system: ABI 7500/7500 fast real - ABI
[5 empty] | Cocentration | [8 empty] | Slope | Intercept | [6 empty] | Cocentration |  |  |  |  | Slope | Intercept
STANDARD CURVES: Virus / template |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | [8 empty] | 1 | 2 | 3 | 4 | 5
|  |  |  | ng | 50 | 5 | 0.5 | 0.05 | 0.005 | 0.0005 | 5e-05 | [9 empty] | ng | 100 | 10 | 1 | 0.1 | 0.01
BRSV / 15 123 pb / Zoetis Vaccine |  |  | 1 | Ct | 15.275 | 18.95 | 22.22 | 25.825 | 29.005 | 31.655 | 36.66 |  |  | -1.494 | 21.179 | [5 empty] | Ct | 13.9667 | 17.0933 | 20.7433 | 23.0167 | 26.4767
PMMV / Pool of RNA samples from WW |  |  |  | gc | Cocentration 1: 10000; Cocentration 2: 1000; Cocentration 3: 100; Cocentration 4: 10; Cocentration 5: 1
|  |  | 1 | Ct | Cocentration 1: 19.38; Cocentration 2: 21.91; Cocentration 3: 25.59; Cocentration 4: 28.38; Cocentration 5: 32 | -1.377 | 31.794
SARS-CoV-2 / 29 903 pb / RNA whole viral genome |  |  |  | ng | 100 | 10 | 1 | 0.1 | 0.01 | 0.001 | 0.0001 | 1e-05 | 1e-06
|  |  | 1 | Ct | Cocentration 1: 8.96; Cocentration 2: 12.95; Cocentration 3: 16.23; Cocentration 4: 19.415; Cocentration 5: 22.74 | -1.478 | 16.059
|  |  | 2 | Ct |  | 12.595 | 15.94 | 19.095 | 22.45 | 25.945 | 29.375 | 32.73 | 37.48 | -1.512 | 15.746
SAMPLING |  |  |  |  | Cocentration 3: CONCENTRATION | [6 empty] | MOLECULAR DETECTION | [24 empty] | OTHERS
General |  |  |  |  | Cocentration 3: General |  | Key parametres |  |  |  |  | Date of RNA extraction (d/m/y) | RNA kit used | Date of PCR (d/m/y) | External control (BRSV) | [6 empty] | PMMV | [5 empty] | SARS-CoV-2 | [8 empty] | Comments
City | WWPT | Date (d/m/y) | Type sample | Time / frequency | Volume | Stored temperature | Date of sample reception (d/m/y) | PI Laboratory | Institution | Manipulator | Date of concentration (d/m/y) | Concentrated Volume (ml) | Sample details | Concentration Method | pH |  | TSS (mg/l) | Flow |  |  |  |  | Ct |  |  |  | ng | gc | % recovery | Ct |  |  |  | gc/rx | gc/ml | Ct |  |  |  | ng | gc/rx | gc/ml | gc/normalized to PMMV | gc/d normalized
[15 empty] | Initial | Final |  | m3/d | ml/d |  |  |  | 1 | 2 | 3 | Mean |  |  |  | 1 | 2 | 3 | mean |  |  | 1 | 2 | 3 | mean
Quebec | East | 19-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.65 | 4 | 700 | 204600 | 204600000000 | ND | Allprep Powerviral RNA/DNA | ND | 18.03 | 18.35 |  | 18.19 | 7.394 | 865985758.5499 | 92.282 | 20.47 | 20.24 |  | 20.355 | 4052.9064 | 202.6453 | 35.03 | 35.45 |  | 35.24 | 2.516e-06 | 149.0245 | 7.4512 | 0.03677 | 7523096331.2157 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 21-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.74 | 4 | 380 | 211656 | 211656000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.1 | 19.22 |  | 19.16 | 3.8629 | 452417190.4136 | 48.2109 | 19.23 | 19.25 |  | 19.24 | 9108.1131 | 455.4057 |  | 34.99 |  | 34.99 | 2.9683e-06 | 175.8189 | 8.7909 | 0.019304 | 4085711457.4709 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 22-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.77 | 4 | 260 | 192432 | 192432000000 | ND | Allprep Powerviral RNA/DNA | ND | 18.95 | 18.63 |  | 18.79 | 4.9484 | 579555851.9181 | 61.7592 | 19.44 | 19.76 |  | 19.6 | 7012.7341 | 350.6367 | 34.01 | 34.65 |  | 34.33 | 4.5929e-06 | 272.0436 | 13.6022 | 0.038793 | 7464976260.3722 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 24-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.68 | 4 | 340 | 215280 | 215280000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.25 | 19.1 |  | 19.175 | 3.8243 | 447897575.9386 | 47.7293 | 21.52 | 21.46 |  | 21.49 | 1777.448 | 88.8724 | 35.33 | 34.59 |  | 34.96 | 3.0278e-06 | 179.3422 | 8.9671 | 0.1009 | 21721472027.0429 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 25-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.61 | 4 | 270 | 269808 | 269808000000 | ND | Allprep Powerviral RNA/DNA | ND | 17.98 | 17.87 |  | 17.925 | 8.829 | 1034056436.8656 | 110.1921 | 21.85 | 21.94 |  | 21.895 | 1324.5344 | 66.2267 | 35.61 | 34.28 |  | 34.945 | 3.058e-06 | 181.1302 | 9.0565 | 0.13675 | 36896276427.91 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 27-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.68 | 4 | 290 | 184512 | 184512000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.57 | 18.05 |  | 18.81 | 4.8826 | 571849106.5125 | 60.9379 | 20.24 | 19.66 |  | 19.95 | 5438.7644 | 271.9382 | 34.27 | 35.16 |  | 34.715 | 3.5604e-06 | 210.8892 | 10.5445 | 0.038775 | 7154489223.0919 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 29-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.28 | 4 | 290 | 315744 | 315744000000 | ND | Allprep Powerviral RNA/DNA | ND | 18.92 | 19.15 |  | 19.035 | 4.2 | 491898673.5124 | 52.4182 | 20.97 | 21.42 |  | 21.195 | 2202.1023 | 110.1051 | 37.7961 | 38.0015 |  | 37.8988 | 4.3351e-07 | 25.6776 | 1.2839 | 0.011661 | 3681733382.8208 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 31-08-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.89 | 4 | 160 | 251688 | 251688000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.19 | 19.06 |  | 19.125 | 3.9544 | 463141111.1165 | 49.3537 | 21.48 | 21.59 |  | 21.535 | 1720.3003 | 86.015 | 38.2148 | 35.9513 |  | 37.083 | 7.4358e-07 | 44.0433 | 2.2022 | 0.025602 | 6443739015.9279 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-01-09 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7.93 | 4 | 230 | 201024 | 201024000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.1 | 19.07 |  | 19.085 | 4.0617 | 475708630.0167 | 50.6929 | 21.85 | 21.6 |  | 21.725 | 1498.5797 | 74.929 | 35.3974 | 35.9062 |  | 35.6518 | 1.9161e-06 | 113.494 | 5.6747 | 0.075734 | 15224421008.8883 |  | Data no plotted because different vol and subsample (setting after mixing)
|  |  | Reference | [19 empty] | 17.96 | 18.18 |  | 18.07 | 8.0124 | 938412622.6309 | 100
0
Quebec | East | 2020-08-10 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7,45 | 4 | ND | 192744 | 192744000000 | ND | Allprep Powerviral RNA/DNA | ND | 22.257 | 22.2517 |  | 22.2543 | 0.48686 | 57021089.8804 | 8.7326 | 25.2537 | 25.2414 |  | 25.2475 | 116.0639 | 5.8032 | 37.2385 | 37.8326 |  | 37.5356 | 5.5124e-07 | 32.6511 | 1.6326 | 0.28132 | 54222802703.2491 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-09-07 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 8,31 | 4 | ND | 196440 | 196440000000 | ND | Allprep Powerviral RNA/DNA | ND | 21.1525 | 21.3817 |  | 21.2671 | 0.94274 | 110413790.8033 | 16.9095 | 23.0493 | 23.5012 |  | 23.2752 | 486.1218 | 24.3061 | 32.3865 | 32.835 |  | 32.6108 | 1.4319e-05 | 848.1156 | 42.4058 | 1.7447 | 342720320450.2091 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-09-10 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 8,48 | 4 | ND | 352152 | 352152000000 | ND | Allprep Powerviral RNA/DNA | ND | 28.5836 | 28.493 |  | 28.5383 | 0.0072564 | 849864.9425 | 0.13015 | 31.0842 | 31.139 |  | 31.1116 | 1.6414 | 0.08207 | 37.1827 | 38.4897 |  | 37.8362 | 4.5185e-07 | 26.7638 | 1.3382 | 16.3055 | 5.742e+12 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-09-17 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 8,27 | 4 | ND | 202920 | 202920000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.7976 | 23.879 |  | 21.8383 | 0.64319 | 75330270.1442 | 11.5366 | 21.5556 | 19.62 |  | 20.5878 | 3422.5553 | 171.1278 | 33.2231 | 33.0185 |  | 33.1208 | 1.0219e-05 | 605.2814 | 30.2641 | 0.17685 | 35886548132.3406 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-09-21 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 8,88 | 4 | ND | 184560 | 184560000000 | ND | Allprep Powerviral RNA/DNA | ND | 31.6214 | 31.7135 |  | 31.6675 | 0.00089347 | 104643.7655 | 0.016026 | 32.8479 | 32.819 |  | 32.8335 | 0.47007 | 0.023503 | 37.7306 |  |  | 37.7306 | 4.8452e-07 | 28.699 | 1.4349 | 61.0528 | 1.1268e+13 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-09-21 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 8,27 | 4 | ND | 184560 | 184560000000 | ND | Allprep Powerviral RNA/DNA | ND | 20.2349 | 20.2359 |  | 20.2354 | 1.8806 | 220261015.5368 | 33.7323 | 21.6271 | 21.697 |  | 21.6621 | 1568.6555 | 78.4328 | 33.2666 | 33.6109 |  | 33.4388 | 8.2809e-06 | 490.491 | 24.5246 | 0.31268 | 57708669924.4698 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | East | 2020-09-28 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7,81 | 4 | ND | 179496 | 179496000000 | ND | Allprep Powerviral RNA/DNA | ND | 20.2227 | 20.2223 |  | 20.2225 | 1.8969 | 222159744.1318 | 34.0231 | 21.6521 | 21.8354 |  | 21.7437 | 1478.3153 | 73.9158 | 32.3112 | 32.2488 |  | 32.28 | 1.782e-05 | 1055.5254 | 52.7763 | 0.71401 | 128161153443.3779 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | West | 2020-08-10 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7,62 | 4 | ND | 201024 | 201024000000 | ND | Allprep Powerviral RNA/DNA | ND | No Cq | No Cq |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 28.2067 | 26.7651 |  | 27.4859 | 22.8421 | 1.1421 | 37.3014 | 38.3133 |  | 37.8073 | 4.6056e-07 | 27.2796 | 1.364 | 1.1943 | 240076523870.6931 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | West | 2020-09-10 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7,92 | 4 | ND | 251688 | 251688000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.0817 | 19.4338 |  | 19.2578 | 3.6182 | 423758692.8899 | 64.8973 | 21.5123 | 21.5634 |  | 21.5379 | 1716.7172 | 85.8359 | 35.1764 | 34.4904 |  | 34.8334 | 3.2922e-06 | 195.0035 | 9.7502 | 0.11359 | 28589469070.9118 |  | Data no plotted because different vol and subsample (setting after mixing)
Quebec | West | 2020-09-21 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 200 | Supernatant after settling | Adsorption | 7,99 | 4 | ND | 201024 | 201024000000 | ND | Allprep Powerviral RNA/DNA | ND | 30.1667 | 30.4768 |  | 30.3217 | 0.0021992 | 257575.2903 | 0.039447 | 33.0613 | 32.6786 |  | 32.87 | 0.45778 | 0.022889 | No Cq | No Cq |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Data no plotted because different vol and subsample (setting after mixing)
|  |  | Reference | [15 empty] | 0 |  |  |  | 18.42 | 18.18 |  | 18.3 | 6.8692 | 804515810.3423 | 123.2091 | [5 empty] | 0 | [6 empty] | 0
Quebec | East | 2020-09-03 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,45 | 4 | 190 | 239568 | 239568000000 | ND | Allprep Powerviral RNA/DNA | ND | 16.61 | 16.43 |  | 16.52 | 22.6118 | 2648299499.9564 | 28.6026 | 20.24 | 20.4 |  | 20.32 | 4157.2419 | 831.4484 | 33.46 | 33.33 |  | 33.395 | 8.524e-06 | 504.894 | 100.9788 | 0.12145 | 29095361651.9333
Quebec | East | 2020-09-06 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,31 | 4 | 260 | 188880 | 188880000000 | ND | Allprep Powerviral RNA/DNA | ND | 16.66 | 16.65 |  | 16.655 | 20.6582 | 2419488828.85 | 26.1313 | 18.56 | 18.94 |  | 18.75 | 13000.8093 | 2600.1619 | 31.12 | 31.21 |  | 31.165 | 3.7254e-05 | 2206.618 | 441.3236 | 0.16973 | 32058466591.6781
Quebec | East | 2020-09-13 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,48 | 4 | 330 | 303552 | 303552000000 | ND | Allprep Powerviral RNA/DNA | ND | 17.6 | 17.83 |  | 17.715 | 10.1615 | 1190116979.8662 | 12.8537 | 20.15 | 20.17 |  | 20.16 | 4669.4742 | 933.8948 | 32.21 | 33.08 |  | 32.645 | 1.3998e-05 | 829.1328 | 165.8266 | 0.17756 | 53900056004.6417
Quebec | East | 2020-09-16 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,27 | 4 | 250 | 188736 | 188736000000 | ND | Allprep Powerviral RNA/DNA | ND | 17.19 | 17.45 |  | 17.32 | 13.2368 | 1550290761.8386 | 16.7437 | 19.95 | 20.08 |  | 20.015 | 5187.9978 | 1037.5996 | 32.14 | 32.04 |  | 32.09 | 2.0206e-05 | 1196.8445 | 239.3689 | 0.23069 | 43540429147.3833
Quebec | East | 2020-09-24 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,88 | 4 | 260 | 185736 | 185736000000 | ND | Allprep Powerviral RNA/DNA | ND | 17.53 | 17.4 |  | 17.465 | 12.0125 | 1406898470.7134 | 15.195 | 19.68 | 19.69 |  | 19.685 | 6592.9392 | 1318.5878 | 31.89 | 32.24 |  | 32.065 | 2.0543e-05 | 1216.7981 | 243.3596 | 0.18456 | 34279584915.5173
Quebec | West | 2020-09-03 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,27 | 4 | ND | 185304 | 185304000000 | ND | Allprep Powerviral RNA/DNA | ND | 17.72 | 17.69 |  | 17.705 | 10.2298 | 1198109676.4522 | 12.94 | 20.52 | 20.66 |  | 20.59 | 3417.0357 | 683.4071 | 34.02 | 34.09 |  | 34.055 | 5.509e-06 | 326.3076 | 65.2615 | 0.095494 | 17695487812.1332
Quebec | West | 2020-09-13 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,81 | 4 | 230 | 220776 | 220776000000 | ND | Allprep Powerviral RNA/DNA | ND | 18.19 | 18.08 |  | 18.135 | 7.6713 | 898460178.8837 | 9.7037 | 20.45 | 20.25 |  | 20.35 | 4067.6496 | 813.5299 | 33.74 | 34.61 |  | 34.175 | 5.0887e-06 | 301.4112 | 60.2822 | 0.0741 | 16359414728.906
Quebec | West | 2020-09-24 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,62 | 4 | 290 | 135072 | 135072000000 | ND | Allprep Powerviral RNA/DNA | ND | 17.91 | 17.76 |  | 17.835 | 9.3772 | 1098263525.7858 | 11.8616 | 20.54 | 20.11 |  | 20.325 | 4142.1739 | 828.4348 | 32.29 | 33.11 |  | 32.7 | 1.3498e-05 | 799.5145 | 159.9029 | 0.19302 | 26071339381.8664
|  |  | Reference | [19 empty] | 14.7 | 14.6 |  | 14.65 | 79.0553 | 9258954117.4473 | 100 | [5 empty] | 0 | [6 empty] | 0
[35 empty] | 0 | [6 empty] | 0
Quebec | East | 2020-08-20 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,45 | 4 | 660 | 197664 | 197664000000 | ND | Allprep Powerviral RNA/DNA | ND | 20.8211 | 20.782 |  | 20.8015 | 1.2874 | 150784446.2418 | 23.0922 | 20.822 | 20.4666 |  | 20.6443 | 3284.8643 | 656.9729 | 38.7935 | 36.5248 |  | 37.6591 | 5.0799e-07 | 30.0892 | 6.0178 | 0.0091599 | 1810591666.8143
Quebec | East | 2020-08-28 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,31 | 4 | 300 | 183600 | 183600000000 | ND | Allprep Powerviral RNA/DNA | ND | 22.1221 | 21.9996 |  | 22.0609 | 0.55417 | 64904552.5937 | 9.9399 | 22.6969 | 22.552 |  | 22.6244 | 779.8372 | 155.9674 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | NO BRSV
Quebec | East | 2020-09-09 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,48 | 4 | 270 | 238944 | 238944000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.0636 | 19.4701 |  | 19.2668 | 3.5963 | 421193244.9412 | 64.5045 | 21.2473 | 21.398 |  | 21.3227 | 2007.1287 | 401.4257 | 35.2205 | 35.1267 |  | 35.1736 | 2.6289e-06 | 155.7134 | 31.1427 | 0.07758 | 18537316865.8948
Quebec | East | 2020-10-12 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,27 | 4 | 210 | 221040 | 221040000000 | ND | Allprep Powerviral RNA/DNA | ND | 20.7863 | 20.7156 |  | 20.751 | 1.3317 | 155973137.9334 | 23.8868 | 23.7788 | 23.7755 |  | 23.7772 | 337.6326 | 67.5265 | 37.4544 | 35.247 |  | 36.3507 | 1.2069e-06 | 71.4877 | 14.2975 | 0.21173 | 46801308424.3405
Quebec | East | 2020-10-26 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,88 | 4 | 210 | 294528 | 294528000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.6983 | 19.4824 |  | 19.5903 | 2.8961 | 339193936.9086 | 51.9465 | 23.1039 | 23.0006 |  | 23.0523 | 571.5683 | 114.3137 | 35.0652 | 36.0456 |  | 35.5554 | 2.0423e-06 | 120.9668 | 24.1934 | 0.21164 | 62333924952.8577
Quebec | West | 2020-08-20 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 8,27 | 4 | 240 | 145800 | 145800000000 | ND | Allprep Powerviral RNA/DNA | ND | 18.1946 | 17.3498 |  | 17.7722 | 9.7797 | 1145398843.7943 | 175.4143 | 22.9452 | 22.1306 |  | 22.5379 | 830.4012 | 166.0802 |  | 36.6033 |  | 36.6033 | 1.0212e-06 | 60.4882 | 12.0976 | 0.072842 | 10620388668.4681
Quebec | West | 2020-08-28 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,81 | 4 | 290 | 134832 | 134832000000 | ND | Allprep Powerviral RNA/DNA | ND | 19.3544 | 19.3012 |  | 19.3278 | 3.4524 | 404350749.2331 | 61.9251 | 23.4537 | 23.3231 |  | 23.3884 | 447.7728 | 89.5546 | 36.3014 | 37.631 |  | 36.9662 | 8.0331e-07 | 47.5813 | 9.5163 | 0.10626 | 14327522579.2782
Quebec | West | 2020-09-09 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,62 | 4 | 250 | 166176 | 166176000000 | ND | Allprep Powerviral RNA/DNA | ND | 20.3841 | 20.2629 |  | 20.3235 | 1.7729 | 207644986.6992 | 31.8002 | 23.2186 | 22.7761 |  | 22.9974 | 594.8222 | 118.9644 | 36.9785 | 35.862 |  | 36.4202 | 1.1527e-06 | 68.2748 | 13.655 | 0.11478 | 19073996573.1471
Quebec | West | 2020-10-12 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,92 | 4 | 140 | 193176 | 193176000000 | ND | Allprep Powerviral RNA/DNA | ND | 21.1374 | 21.1434 |  | 21.1404 | 1.0262 | 120183934.2986 | 18.4058 | 24.4366 | 24.4912 |  | 24.4639 | 205.0487 | 41.0097 | 35.6136 | 36.8141 |  | 36.2139 | 1.3212e-06 | 78.2584 | 15.6517 | 0.38166 | 73727092006.3749
Quebec | West | 2020-10-26 | Composite | 24 h / each 10 min | 500 ml | -20 | ND | Dominic Frigon | McGill University | Fernando | ND | 50 | Supernatant after settling | Adsorption | 7,99 | 4 | 220 | 234768 | 234768000000 | ND | Allprep Powerviral RNA/DNA | ND | 20.2616 | 20.3625 |  | 20.312 | 1.7866 | 209247475.0375 | 32.0456 | 24.6303 | 24.5285 |  | 24.5794 | 188.5517 | 37.7103 | 35.1835 | 36.1933 |  | 35.6884 | 1.8703e-06 | 110.7815 | 22.1563 | 0.58754 | 137935415079.3032
|  |  | Reference | [15 empty] | 0 |  |  |  | 18.768 | 18.4557 |  | 18.6118 | 5.5752 | 652967656.9987 | 100 | [5 empty] | 0 | [6 empty] | 0
[19 empty] | 0 | [15 empty] | 0 | [6 empty] | 0
Quebec | West | 17-09-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 8.42 | 3.52 | 210 | 163008 | 163008000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | No Ct | 17.65 |  | 17.65 | 10.6134 | 1243038726.2142 | 157.6416 |  | 24.42 |  | 24.42 | 211.6893 | 42.3379 | 36.13 | 35 |  | 35.565 | 2.0293e-06 | 120.2008 | 24.0402 | 0.56782 | 92558682803.9715
Quebec | West | 28-09-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 8.6 | 4.02 | 240 | 132408 | 132408000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 22.93 | 21.09 |  | 22.01 | 0.57337 | 67153041.7439 | 8.5163 | 27.8 | 27.68 |  | 27.74 | 18.9932 | 3.7986 | 33.74 | 34.61 |  | 6 | 630.0298 | 37317746464.566 | 7463549292.9132 | 1964794488.4 | 2.6015e+20 |  | PMMV no recovery
Quebec | West | 05-10-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 8.22 | 4.09 | 190 | 163680 | 163680000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 18.01 | 17.97 |  | 17.99 | 8.4531 | 990032006.0033 | 125.5554 | 24.5 | 24.36 |  | 24.43 | 210.1576 | 42.0315 | 34.86 | 36.4 |  | 35.63 | 1.9439e-06 | 115.1429 | 23.0286 | 0.54789 | 89678371630.073
Quebec | West | 19-10-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 7.78 | 3.99 | 170 | 245784 | 245784000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 17.97 | 18.47 |  | 18.22 | 7.247 | 848769914.6048 | 107.6406 | 25.2 | 25.2 |  | 25.2 | 120.1416 | 24.0283 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Forte pluie dosage de chimique au primaire pour 6,1 heures
Quebec | East | 29-09-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 8.59 | 4.61 | 330 | 233736 | 233736000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 22.02 | 19.41 |  | 20.715 | 1.3642 | 159776306.9061 | 20.2628 | 22.99 | 22.58 |  | 22.785 | 694.0081 | 138.8016 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Training samples
Quebec | East | 30-09-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 7.42 | 4.37 | 210 | 426168 | 426168000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 19.12 | 21.07 |  | 20.095 | 2.0659 | 241958944.6912 | 30.6851 | 24.5 | 25.55 |  | 25.025 | 136.4228 | 27.2846 | 35.71 | 36.15 |  | 35.93 | 1.5941e-06 | 94.4208 | 18.8842 | 0.69212 | 294958898814.4636
Quebec | East | 2020-01-10 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 7.56 | 4.58 | 190 | 295056 | 295056000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 18.19 | 18.62 |  | 18.405 | 6.403 | 749914720.5444 | 95.1038 | 24.49 | 24.9 |  | 24.695 | 173.3669 | 34.6734 | 33.08 | 34.12 |  | 33.6 | 7.4433e-06 | 440.8773 | 88.1755 | 2.543 | 750336242631.2928
Quebec | East | 2020-02-10 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 7.65 | 3.73 | 200 | 321072 | 321072000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 18.52 | 19.27 |  | 18.895 | 4.6126 | 540222403.5176 | 68.5108 | 23.34 | 26.79 |  | 25.065 | 132.5169 | 26.5034 | 34.13 | 33.29 |  | 33.71 | 6.921e-06 | 409.9418 | 81.9884 | 3.0935 | 993238093942.6807
Quebec | East | 2020-05-10 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 7.8 | 4.56 | 250 | 200664 | 200664000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 18.92 | 19.83 |  | 19.375 | 3.3451 | 391778164.4431 | 49.6851 | 23.13 | 23.65 |  | 23.39 | 447.2522 | 89.4504 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Training samples
Quebec | East | 19-10-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 2020-04-12 | Dominic Frigon | McGill University | Betty | 07-12-2020 | 50 ml | Completely mixed | Adsorption | 7.84 | 4.27 | 300 | 319488 | 319488000000 | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 20.15 | 20.75 |  | 20.45 | 1.629 | 190785722.4945 | 24.1954 | 24.83 | 25.18 |  | 25.005 | 138.4187 | 27.6837 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | Training samples
|  |  | Spike reference |  | Cocentration 1: 15 ml; Cocentration 2: -80; Cocentration 8: 200 µl; Cocentration 9: NA | NA | NA | NA | NA | NA | #VALUE! | 08/12/2020 | Allprep Powerviral RNA/DNA | 09/12/2020 | 18.04 | 18.62 |  | 18.33 | 6.7326 | 788521992.3084 | 100 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[19 empty] | 0 | [15 empty] | 0
Quebec | East | 25-10-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 8.65 | 4.19 | 210 | 209112 | 209112000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 21.13 | 21.09 |  | 21.11 | 1.0473 | 122656020.7349 | 19.9933 | 24.1 | 23.84 |  | 23.97 | 293.5116 | 58.7023 | 35.93 | 34.69 |  | 35.31 | 2.4021e-06 | 142.2825 | 28.4565 | 0.48476 | 101368964503.9984
Quebec | East | 02-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 7.88 | 4.27 | 280 | 188232 | 188232000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 21.7 | 21.75 |  | 21.725 | 0.69388 | 81266775.8504 | 13.2467 | 22.39 | 22.66 |  | 22.525 | 838.2362 | 167.6472 | 35.73 | 38.15 |  | 36.94 | 8.1735e-07 | 48.4132 | 9.6826 | 0.057756 | 10871527125.78
Quebec | East | 09-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 7.92 | 4.62 | 300 | 182904 | 182904000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 21.82 | 21.38 |  | 21.6 | 0.75443 | 88358754.0184 | 14.4028 | 22.8 | 22.69 |  | 22.745 | 714.4638 | 142.8928 | 35.58 | 37.11 |  | 36.345 | 1.2115e-06 | 71.7574 | 14.3515 | 0.10044 | 18370010869.7238
Quebec | East | 15-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 8.49 | 4.66 | 260 | 205512 | 205512000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 21.39 | 21.32 |  | 21.355 | 0.88887 | 104104433.9353 | 16.9693 | 22.67 | 22.46 |  | 22.565 | 814.2368 | 162.8474 | 35.86 | 38.01 |  | 36.935 | 8.2006e-07 | 48.5735 | 9.7147 | 0.059655 | 12259877000.0762
Quebec | East | 22-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 7.86 | 4.6 | 350 | 183168 | 183168000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 20 | 19.95 |  | 19.975 | 2.2387 | 262195221.5899 | 42.7386 | 20.82 | 20.96 |  | 20.89 | 2748.0965 | 549.6193 | 34.65 | 33.91 |  | 34.28 | 4.7473e-06 | 281.1901 | 56.238 | 0.10232 | 18742077428.3831
Quebec | West | 25-10-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 12.41 | 4.05 | 200 | 224136 | 224136000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 21.02 | 21.01 |  | 21.015 | 1.116 | 130708746.9572 | 21.3059 | 23.22 | 23.11 |  | 23.165 | 526.6422 | 105.3284 | 35.25 | 36.15 |  | 35.7 | 1.856e-06 | 109.9337 | 21.9867 | 0.20874 | 46787181751.7587
Quebec | West | 02-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 11.43 | 4.21 | 250 | 185760 | 185760000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 21.11 | 21.2 |  | 21.155 | 1.0162 | 119016647.2661 | 19.4001 | 24.02 | 23.75 |  | 23.885 | 312.2005 | 62.4401 | 36.42 | 36.04 |  | 36.23 | 1.3072e-06 | 77.428 | 15.4856 | 0.24801 | 46069839501.8502
Quebec | West | 09-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 7.88 | 4.4 | 210 | 148032 | 148032000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 23.3 | 23.14 |  | 23.22 | 0.25509 | 29876371.82 | 4.8699 | 23.91 | 24.26 |  | 24.085 | 269.9947 | 53.9989 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | NO BRSV recovery
Quebec | West | 15-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 8.66 | 4.28 | 230 | 144336 | 144336000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 22.53 | 22.52 |  | 22.525 | 0.40619 | 47572841.3072 | 7.7545 | 23.21 | 23.64 |  | 23.425 | 436.0274 | 87.2055 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | NO BRSV recovery
Quebec | West | 22-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 11-12-2020 | Dominic Frigon | McGill University | Betty | 14-12-2020 | 50 ml | Completely mixed | Adsorption | 7.89 | 4.6 | 230 | 143280 | 143280000000 | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2020 | 20.61 | 21.21 |  | 20.91 | 1.1973 | 140225615.7884 | 22.8572 | 22.82 | 22.84 |  | 22.83 | 671.6947 | 134.3389 | 33.78 | 34.83 |  | 34.305 | 4.6694e-06 | 276.5791 | 55.3158 | 0.41176 | 58997411373.9902
|  |  | Spike reference |  | 15 ml | -80 | NA | Dominic Frigon | McGill University | Betty | 14-12-2020 | 200 µl | NA | NA | NA | NA | NA | NA | #VALUE! | 15/12/2020 | Allprep Powerviral RNA/DNA | 16/12/2021 | 18.78 | 18.63 |  | 18.705 | 5.2381 | 613485286.6809 | 100 | 30.32 | 30.37 |  | 30.345 | 2.8642 | 0.57284 | No Ct | No Ct |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[19 empty] | 0 | [15 empty] | 0 | [6 empty] | 0
Quebec | West | 12-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 8.12 | 4.49 | 240 | 141936 | 141936000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 17.29 | 16.92 |  | 17.105 | 15.2855 | 1790243189.7711 | 51.0334 | 24.22 | 24.24 |  | 24.23 | 243.0096 | 48.6019 | 35.58 | 36.31 |  | 35.945 | 1.5784e-06 | 93.4887 | 18.6977 | 0.38471 | 54604481316.8503
Quebec | West | 18-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 7.78 | 4.4 | 300 | 148656 | 148656000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 17.47 | 17.04 |  | 17.255 | 13.8254 | 1619228602.2793 | 46.1583 | 24.01 | 24.07 |  | 24.04 | 278.9638 | 55.7928 | 35.53 | 37.07 |  | 36.3 | 1.2481e-06 | 73.9251 | 14.785 | 0.265 | 39393669733.853
Quebec | West | 25-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 8 | 4.61 | 220 | 156984 | 156984000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 17.32 | 17.11 |  | 17.215 | 14.2005 | 1663167016.6727 | 47.4109 | 24.41 | 24.5 |  | 24.455 | 206.3765 | 41.2753 | 36.26 | 35.13 |  | 35.695 | 1.8621e-06 | 110.2979 | 22.0596 | 0.53445 | 83900049250.4093
Quebec | West | 29-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 7.94 | 3.73 | 152 | 196632 | 196632000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 16.62 | 16.7 |  | 16.66 | 20.5892 | 2411405011.3615 | 68.7404 | 23.96 | 24.03 |  | 23.995 | 288.2309 | 57.6462 | 35.06 | 34.69 |  | 34.875 | 3.2029e-06 | 189.713 | 37.9426 | 0.6582 | 129422825996.7826
Quebec | West | 03-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 7.52 | 4.15 | 189 | 250704 | 250704000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 16.59 | 16.56 |  | 16.575 | 21.7946 | 2552577960.869 | 72.7648 | 22.76 | 22.84 |  | 22.8 | 686.4891 | 137.2978 | 35.24 | 35.39 |  | 35.315 | 2.3942e-06 | 141.8127 | 28.3625 | 0.20658 | 51789626063.8629
Quebec | East | 12-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 7.86 | 4.62 | 310 | 189240 | 189240000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 17.01 | 17.08 |  | 17.045 | 15.9119 | 1863603750.39 | 53.1246 | 22.32 | 22.59 |  | 22.455 | 881.9497 | 176.3899 | 34.81 | 35.47 |  | 35.14 | 2.688e-06 | 159.2138 | 31.8428 | 0.18052 | 34162516321.1245 |  | fermeture dessableurs pour forcer le transfert de solides tournant en bouble dans le pré-traitement vers les décanteurs primaires.
Quebec | East | 18-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 8.37 | 4.57 | 220 | 188448 | 188448000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 16.08 | 16.48 |  | 16.28 | 26.5523 | 3109805879.8028 | 88.6493 | 23.37 | 23.12 |  | 23.245 | 496.9175 | 99.3835 | 34.36 | 34.06 |  | 34.21 | 4.9722e-06 | 294.5143 | 58.9029 | 0.59268 | 111689803358.4751
Quebec | East | 25-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 7.55 | 4.08 | 310 | 195864 | 195864000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 16.86 | 17.02 |  | 16.94 | 17.0705 | 1999292239.941 | 56.9926 | 22.16 | 22.13 |  | 22.145 | 1104.6261 | 220.9252 | 33.51 | 33.76 |  | 33.635 | 7.2729e-06 | 430.789 | 86.1578 | 0.38999 | 76384271271.9678
Quebec | East | 29-11-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 8.16 | 4.57 | 180 | 222000 | 222000000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 17.06 | 17.08 |  | 17.07 | 15.6479 | 1832678416.3999 | 52.243 | 21.54 | 21.78 |  | 21.66 | 1571.0149 | 314.203 | 33.11 | 32.92 |  | 33.015 | 1.096e-05 | 649.1549 | 129.831 | 0.41321 | 91732028455.6733
Quebec | East | 03-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 50ml | completely mixed | Adsorption | 7.17 | 4.42 | 250 | 236352 | 236352000000 | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 16.58 | 16.88 |  | 16.73 | 19.6467 | 2301026866.2713 | 65.5939 | 23.63 | 23.36 |  | 23.495 | 414.4159 | 82.8832 | 33.11 | 33.6 |  | 33.355 | 8.7526e-06 | 518.4293 | 103.6859 | 1.251 | 295673505035.4585 |  | entretien d'un dessableur + Forte pluie dosage de chimique au primaire pour 8,9 heures
|  |  | Spike reference |  | 15ml | -80 | NA | Dominic Frigon | McGill University | Betty/Fernando | 21-12-2020 | 200 µl | NA | NA | NA | NA | NA | NA | #VALUE! | 22-12-2020 | Allprep Powerviral RNA/DNA | 22-12-2020 | 16.15 | 16.05 |  | 16.1 | 29.9521 | 3507986527.1103 | 100 | 29.77 | 30.04 |  | 29.905 | 3.9425 | 0.78851 | 24.1 | 24.85 |  | 24.475 | 0.00311 | 184207.7513 | 36841.5503 | 46723.2267 | #VALUE!
[19 empty] | 0 | [15 empty] | 0 | [6 empty] | 0
Quebec | East | 11-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.49 | 4.25 | 270 | 193776 | 193776000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.31 | 18.35 |  | 18.33 | 6.7326 | 788521992.3084 | 6.3226 | 21.07 | 21.32 |  | 21.195 | 2202.1023 | 440.4205 | 33.21 | 33.25 |  | 33.23 | 9.5069e-06 | 563.1103 | 112.6221 | 0.25571 | 49551407424.9325
Quebec | East | 12-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.71 | 4.33 | 270 | 192288 | 192288000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 17.5 | 17.47 |  | 17.485 | 11.8527 | 1388189991.9887 | 11.1309 | 20.89 | 20.76 |  | 20.825 | 2880.9282 | 576.1856 | 32.88 | 32.39 |  | 32.635 | 1.4091e-05 | 834.6347 | 166.9269 | 0.28971 | 55707818536.3509
Quebec | East | 13-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.57 | 3.75 | 340 | 192696 | 192696000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.63 | 18.22 |  | 18.425 | 6.3178 | 739942598.2579 | 5.933 | 20.61 | 21.03 |  | 20.82 | 2891.4081 | 578.2816 | 32.07 | 31.86 |  | 31.965 | 2.1948e-05 | 1299.9951 | 259.999 | 0.44961 | 86637321439.6287
Quebec | East | 14-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.56 | 3.8 | 310 | 202800 | 202800000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.48 | 18.42 |  | 18.45 | 6.213 | 727663715.4859 | 5.8346 | 20.4 | 20.32 |  | 20.36 | 4038.2167 | 807.6433 | 31.39 | 31.2 |  | 31.295 | 3.4185e-05 | 2024.8228 | 404.9646 | 0.50142 | 101686981273.0016
Quebec | East | 15-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.62 | 3.6 | 280 | 187296 | 187296000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 17.86 | 17.94 |  | 17.9 | 8.978 | 1051505510.5211 | 8.4312 | 24.72 | 24.27 |  | 24.495 | 200.4678 | 40.0936 | 33.3 | 33.31 |  | 33.305 | 9.0468e-06 | 535.8597 | 107.1719 | 2.673 | 500650899819.8826
Quebec | West | 11-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.25 | 3.97 | 380 | 166512 | 166512000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 17.83 | 17.86 |  | 17.845 | 9.3147 | 1090936911.7825 | 8.7474 | 21.56 | 21.28 |  | 21.42 | 1870.1409 | 374.0282 | 34.65 | 34.22 |  | 34.435 | 4.2847e-06 | 253.7927 | 50.7585 | 0.13571 | 22596978699.4869
Quebec | West | 12-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.59 | 3.66 | 210 | 161544 | 161544000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.24 | 18.01 |  | 18.125 | 7.7228 | 904494140.0202 | 7.2525 | 21.46 | 21.25 |  | 21.355 | 1960.5359 | 392.1072 | 34.17 | 33.25 |  | 33.71 | 6.921e-06 | 409.9418 | 81.9884 | 0.2091 | 33778336722.6979
Quebec | West | 13-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.67 | 4.37 | 200 | 166344 | 166344000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 17.61 | 17.59 |  | 17.6 | 10.9746 | 1285343720.8568 | 10.3062 | 21.62 | 21.47 |  | 21.545 | 1707.8525 | 341.5705 | 33.41 | 33.5 |  | 33.455 | 8.1924e-06 | 485.2509 | 97.0502 | 0.28413 | 47263199318.0829
Quebec | West | 14-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.69 | 3.88 | 240 | 156312 | 156312000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 17.94 | 18.08 |  | 18.01 | 8.3407 | 976866882.0753 | 7.8328 | 21.8 | 22.14 |  | 21.97 | 1254.3215 | 250.8643 | 33.17 | 33.82 |  | 33.495 | 7.9785e-06 | 472.5819 | 94.5164 | 0.37676 | 58892573201.8497
Quebec | West | 15-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 50 ml | homogenized | Adsorption | 6.44 | 4.37 | 330 | 153600 | 153600000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.81 | 18.83 |  | 18.82 | 4.85 | 568034250.0839 | 4.5546 | 22.16 | 22.12 |  | 22.14 | 1108.6444 | 221.7289 | 33.98 | 34.53 |  | 34.255 | 4.8264e-06 | 285.8781 | 57.1756 | 0.25786 | 39607721607.3618
Quebec | East | 11-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 100 ml | homogenized | Adsorption | 6.49 | 3.99 | 270 | 193776 | 193776000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.15 | 18.08 |  | 18.115 | 7.7747 | 910568624.5854 | 7.3012 | 19.66 | 19.2 |  | 19.43 | 7934.2152 | 1586.843 | 32.1 | 32.06 |  | 32.08 | 2.034e-05 | 1204.7864 | 240.9573 | 0.15185 | 29424295394.3755 |  | Differente vol (100 ml)
Quebec | East | 12-12-2020 | Composite | 24 h / each 10 min | 500 ml | -20 | 31-12-2020 | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 100 ml | homogenized | Adsorption | 6.71 | 3.82 | 270 | 192288 | 192288000000 | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 18.36 | 18.27 |  | 18.315 | 6.8005 | 796478756.537 | 6.3864 | 18.83 | 18.57 |  | 18.7 | 13481.5546 | 2696.3109 | 31.88 | 31.96 |  | 31.92 | 2.2611e-05 | 1339.2669 | 267.8534 | 0.099341 | 19102022645.5495 |  | Differente vol (100 ml)
|  |  | Spike reference |  | 15 ml | -80 | NA | Dominic Frigon | McGill University | Betty/Fernando | 2021-04-01 | 200 µl | NA | NA | NA | NA | NA | NA | #VALUE! | 2021-05-01 | Allprep Powerviral RNA/DNA | 2021-06-01 | 14.11 | 14.3 |  | 14.205 | 106.4851 | 12471539334.068 | 100 | NA | NA |  |  |  | 0 | 35.77 | 34.38 |  | 35.075 | 2.8061e-06 | 166.2076 | 33.2415 | #DIV/0! | #DIV/0!
[35 empty] | 0 | [6 empty] | 0
Montreal | North | 31-12-2020 | Grab sample ? | ND | 400 ml | 4 | 06-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 07-01-2021 | 50 ml | homogenized | adsorption | 7.52 | 4.2 | ND | ND | ND | 12-01-2021 | Allprep Powerviral RNA/DNA | [13 empty] | 0 | [6 empty] | 0 |  |  |  | Sample from Mtl
Montreal | North | 31-12-2020 | Grab sample ? | ND | 400 ml | 4 | 06-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 07-01-2021 | 50 ml | homogenized | adsorption | 7.35 | 4.05 | ND | ND | ND | 12-01-2021 | Allprep Powerviral RNA/DNA | [13 empty] | 0 | [6 empty] | 0 |  |  |  | Sample from Mtl
Montreal | South | 04-01-2021 | Grab sample ? | ND | 400 ml | 4 | 06-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 07-01-2021 | 50 ml | homogenized | adsorption | 7.57 | 4.41 | ND | ND | ND | 12-01-2021 | Allprep Powerviral RNA/DNA | [13 empty] | 0 | [6 empty] | 0 |  |  |  | Sample from Mtl
Montreal | South | 04-01-2021 | Grab sample ? | ND | 400 ml | 4 | 06-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 07-01-2021 | 50 ml | homogenized | adsorption | 7.57 | 4.21 | ND | ND | ND | 12-01-2021 | Allprep Powerviral RNA/DNA | [13 empty] | 0 | [6 empty] | 0 |  |  |  | Sample from Mtl
|  |  | spike reference |  | 15 ml | -80 | NA | dominic Frigon | mcGill University | betty/Fernando | 07-01-2021 | 200 µl | NA | NA | NA | NA |  |  |  | 12-01-2021 | Allprep Powerviral RNA/DNA | [13 empty] | 0 | [6 empty] | 0
[35 empty] | 0 | [6 empty] | 0
Quebec | East | 06-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.58 | 4.32 | 220 | 231480 | 231480000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.31 | 19.17 |  | 19.24 | 3.6614 | 428828562.7182 | 44.9389 | 25.1 | 24.93 |  | 25.015 | 137.4171 | 27.4834 | 26.92 | 26.85 |  | 26.885 | 0.00063172 | 37417.8873 | 7483.5775 | 272.2942 | 6.3031e+13
Quebec | East | 07-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 8.33 | 4.2 | 210 | 221904 | 221904000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.25 | 19.18 |  | 19.215 | 3.7232 | 436064783.982 | 45.6972 | 24.63 | 24.38 |  | 24.505 | 199.0172 | 39.8034 | 26.96 | 26.63 |  | 26.795 | 0.00067046 | 39712.7649 | 7942.553 | 199.5444 | 4.428e+13
Quebec | East | 08-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.57 | 4.49 | 230 | 215040 | 215040000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.36 | 19.25 |  | 19.305 | 3.5056 | 410571403.1105 | 43.0257 | 25.36 | 25.19 |  | 25.275 | 113.7729 | 22.7546 | 27 | 27.03 |  | 27.015 | 0.00057968 | 34335.1642 | 6867.0328 | 301.7867 | 6.4896e+13 |  | entretien d'un dessableur
Quebec | East | 09-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 8.39 | 4.34 | 280 | 208104 | 208104000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.73 | 19.52 |  | 19.625 | 2.8297 | 331411154.0743 | 34.7301 | 25.4 | 25.24 |  | 25.32 | 110.115 | 22.023 | 27.01 | 26.93 |  | 26.97 | 0.00059719 | 35372.4026 | 7074.4805 | 321.2315 | 6.685e+13 |  | entretien d'un dessableur
Quebec | East | 10-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.6 | 4.45 | 240 | 200712 | 200712000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.55 | 19.72 |  | 19.635 | 2.8108 | 329200280.6862 | 34.4984 | 25.2 | 25.15 |  | 18.7 | 13481.5546 | 2696.3109 | 30.79 | 30.33 |  | 30.56 | 5.5584e-05 | 3292.3227 | 658.4645 | 0.24421 | 49015762163.276 |  | entretien d'un dessableur
Quebec | West | 06-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.72 | 4.34 | 170 | 215448 | 215448000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.51 | 19.4 |  | 19.455 | 3.1707 | 371351201.3301 | 38.9156 | 26.16 | 26.05 |  | 26.105 | 62.2678 | 12.4536 | 30.08 | 29.36 |  | 29.72 | 9.6877e-05 | 5738.2189 | 1147.6438 | 92.1538 | 1.9854e+13 |  | Forte pluie dosage de chimique au primaire pour 1,6 heures
Quebec | West | 07-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.99 | 3.96 | 230 | 202104 | 202104000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.38 | 19.2 |  | 19.29 | 3.5409 | 414714369.1729 | 43.4598 | 25.28 | 25.17 |  | 25.225 | 117.9801 | 23.596 | 30.69 | 29.61 |  | 30.15 | 7.2898e-05 | 4317.8488 | 863.5698 | 36.5981 | 7.3966e+12 |  | entretien d'un dessableur
Quebec | West | 08-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.63 | 4.55 | 200 | 187512 | 187512000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.3 | 19.68 |  | 19.49 | 3.0973 | 362752653.8455 | 38.0145 | 26 | 26 |  | 26 | 67.2017 | 13.4403 | 28.9 | 29.85 |  | 29.375 | 0.00012171 | 7208.9511 | 1441.7902 | 107.2734 | 2.0115e+13 |  | entretien d'un dessableur
Quebec | West | 09-12-2020 | composite | 24 h / each 10 min | 500 ml | -20 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.64 | 4.25 | 270 | 178920 | 178920000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.94 | 19.73 |  | 19.835 | 2.4586 | 287953069.2505 | 30.1759 | 25.99 | 25.72 |  | 25.855 | 74.6641 | 14.9328 | 29.28 | 29.66 |  | 29.47 | 0.0001143 | 6769.9437 | 1353.9887 | 90.672 | 1.6223e+13 |  | entretien d'un dessableur
Quebec | West | 10-12-2020 | composite | 24 h / each 10 min | 500ml | -80 | 12-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 12-01-2021 | 50 ml | completely mixed | Adsorption | 7.39 | 4.08 | 180 | 171240 | 171240000000 | 13-01-2021 | Allprep Powerviral RNA/DNA | 18-01-2021 | 19.8 | 19.81 |  | 19.805 | 2.5085 | 293793704.0544 | 30.788 | 26.21 | 26.06 |  | 26.135 | 60.9259 | 12.1852 | 30.58 | 29.94 |  | 30.26 | 6.7783e-05 | 4014.8742 | 802.9748 | 65.8976 | 1.1284e+13 |  | entretien d'un dessableur
|  |  | spike reference |  | Cocentration 1: 15 ml; Cocentration 7: NA; Cocentration 8: 200 µl; Cocentration 9: NA | NA | NA | NA | NA |  |  | NA | NA | NA | 17.94 | 18.15 |  | 18.045 | 8.1476 | 954247765.0736 | 100 | 30.5 | 30.98 |  | 30.74 | 2.1499 | 0.42998 | 29.75 | 29.96 |  | 29.855 | 8.8603e-05 | 5248.0845 | 1049.6169 | 2441.0568 | NA
[35 empty] | 0 | [6 empty] | 0
Quebec | West | 15-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 19-01-2021 | 50 ml | completely mixed | Adsorption | 7.02 | 3.7 |  |  |  | 19-01-2021 | Allprep Powerviral RNA/DNA | 20-01-2021 | 18.47 | 17.59 |  | 18.03 | 8.2298 | 963876823.6876 | 20.0603 | 21.09 | 20.69 |  | 20.89 | 2748.0965 | 549.6193 | 28.51 | 28.21 |  | 28.36 | 0.00023815 | 14106.2754 | 2821.2551 | 5.1331
Quebec | West | 16-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 19-01-2021 | 50 ml | completely mixed | Adsorption | 7.08 | 3.8 |  |  |  | 19-01-2021 | Allprep Powerviral RNA/DNA | 20-01-2021 | 18.51 | 16.94 |  | 17.725 | 10.0937 | 1182177603.2725 | 24.6036 | 20.55 | 20.42 |  | 20.485 | 3687.7855 | 737.5571 | 26.64 | 27.56 |  | 27.1 | 0.00054799 | 32458.1995 | 6491.6399 | 8.8015
Quebec | West | 17-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 19-01-2021 | 50 ml | completely mixed | Adsorption | 7.24 | 3.63 |  |  |  | 19-01-2021 | Allprep Powerviral RNA/DNA | 20-01-2021 | 19.12 | 18.62 |  | 18.87 | 4.6904 | 549338328.1164 | 11.4329 | 21.25 | 21.61 |  | 21.43 | 1856.6088 | 371.3218 | 26.82 | 27.32 |  | 27.07 | 0.00055897 | 33108.6429 | 6621.7286 | 17.8329
Quebec | East | 15-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 19-01-2021 | 50 ml | completely mixed | Adsorption | 7.02 | 4.33 |  |  |  | 19-01-2021 | Allprep Powerviral RNA/DNA | 20-01-2021 | 18.83 | 19.08 |  | 18.955 | 4.431 | 518956606.8736 | 10.8006 | 19.54 | 19.18 |  | 19.36 | 8347.98 | 1669.596 | 26.87 | 28.14 |  | 27.505 | 0.00041922 | 24831.0764 | 4966.2153 | 2.9745
Quebec | East | 16-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 19-01-2021 | 50 ml | completely mixed | Adsorption | 7.13 | 4.54 |  |  |  | 19-01-2021 | Allprep Powerviral RNA/DNA | 20-01-2021 | 17.87 | 19.47 |  | 18.67 | 5.3623 | 628027102.7439 | 13.0706 | 21.05 | 20.92 |  | 20.985 | 2564.896 | 512.9792 | 28.02 | 26.79 |  | 27.405 | 0.00044788 | 26528.8685 | 5305.7737 | 10.3431
Quebec | East | 17-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 19-01-2021 | 50 ml | completely mixed | Adsorption | 7.27 | 4.3 |  |  |  | 19-01-2021 | Allprep Powerviral RNA/DNA | 20-01-2021 | 18.85 | 18.57 |  | 18.71 | 5.2206 | 611435554.9234 | 12.7253 | 18.9 | 19.13 |  | 19.015 | 10724.8583 | 2144.9717 | 24.55 | 24.53 |  | 24.54 | 0.0029791 | 176456.5704 | 35291.3141 | 16.453
|  |  | Spike reference |  | Cocentration 1: 15 ml; Cocentration 2: -80; Cocentration 8: 200 µl; Cocentration 9: NA | NA | NA | NA |  |  |  | NA | NA | 20-01-2021 | 15.6 | 15.66 |  | 15.63 | 41.0253 | 4804888965.4001 | 100 | 24.1 | 24.66 |  | 24.38 | 217.9288 | 43.5858 | 26.97 | 28.35 |  | 27.66 | 0.00037837 | 22411.6906 | 4482.3381 | 102.8395
[35 empty] | 0 | [6 empty] | 0
Quebec | West | 18-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 20-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 21-01-2021 | 50 ml | Completely mixed | Adsorption | 7.3 | 3.73 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 18.07 | 18.43 |  | 18.25 | 7.1029 | 831896322.5731 | 39.0461 | 18.67 | 18.93 |  | 18.8 | 12537.207 | 2507.4414 | 30.48 | 30.55 |  | 30.515 | 5.7263e-05 | 3391.7812 | 678.3562 | 0.27054
Quebec | West | 19-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 20-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 21-01-2021 | 50 ml | Completely mixed | Adsorption | 7.31 | 3.74 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 18.67 | 18.55 |  | 18.61 | 5.582 | 653762388.6561 | 30.6851 | 19.25 | 18.84 |  | 19.045 | 10493.7282 | 2098.7456 | 31.09 | 31.11 |  | 31.1 | 3.889e-05 | 2303.5478 | 460.7096 | 0.21952
Quebec | East | 18-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 20-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 21-01-2021 | 50 ml | Completely mixed | Adsorption | 7.46 | 4.26 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 19.22 | 19.25 |  | 19.235 | 3.6737 | 430266136.1737 | 20.1951 | 20.04 | 19.51 |  | 19.775 | 6175.8084 | 1235.1617 | 31.36 | 31.15 |  | 31.255 | 3.5101e-05 | 2079.1044 | 415.8209 | 0.33665
Quebec | East | 19-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 20-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 21-01-2021 | 50 ml | Completely mixed | Adsorption | 6.79 | 4.48 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 23.5 | 23.26 |  | 23.38 | 0.22918 | 26842135.7143 | 1.2599 | 21.31 | 21.46 |  | 21.385 | 1918.2846 | 383.6569 | 32.26 | 32.11 |  | 32.185 | 1.8976e-05 | 1123.9597 | 224.7919 | 0.58592
|  |  | Spike reference |  | Cocentration 1: 15 ml; Cocentration 2: -80; Cocentration 8: 200 µl; Cocentration 9: NA | NA | NA | NA |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 16.91 | 16.78 |  | 16.845 | 18.1912 | 2130551618.4047 | 100 | 26.75 | 26.82 |  | 26.785 | 38.0012 | 7.6002 | 31.9 | 32.32 |  | 32.11 | 1.9941e-05 | 1181.1175 | 236.2235 | 31.081
[35 empty] | 0 | [6 empty] | 0
Quebec | East | 20-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 22-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 22-01-2021 | 50 ml | Completely mixed | Adsorption | 7 | 4.48 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 20.16 | 20.03 |  | 20.095 | 2.0659 | 241958944.6912 | 10.9096 | 19.83 | 20.47 |  | 20.15 | 4703.5081 | 940.7016 | 31.44 | 31.69 |  | 31.565 | 2.8594e-05 | 1693.692 | 338.7384 | 0.36009
Quebec | East | 21-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 22-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 22-01-2021 | 50 ml | Completely mixed | Adsorption | 7 | 4.27 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 19.26 | 19.22 |  | 19.24 | 3.6614 | 428828562.7182 | 19.3353 | 19.68 | 19.28 |  | 19.48 | 7651.2851 | 1530.257 | 30.6 | 30.13 |  | 30.365 | 6.3235e-05 | 3745.5241 | 749.1048 | 0.48953
Quebec | West | 20-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 22-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 22-01-2021 | 50 ml | Completely mixed | Adsorption | 7 | 3.85 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | No Ct | 18.84 |  | 18.84 | 4.7855 | 560480715.1958 | 25.2713 | 19.22 | 19.05 |  | 19.135 | 9829.797 | 1965.9594 | 34.26 | 30.79 |  | 32.525 | 1.5154e-05 | 897.6187 | 179.5237 | 0.091316
Quebec | West | 20-01-2021 | Composite | 24 h / each 10 min | 500 ml | -20 | 22-01-2021 | Dominic Frigon | McGill University | Betty/Fernando | 22-01-2021 | 50 ml | Completely mixed | Adsorption | 7 | 3.83 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 18.6 | 18.46 |  | 18.53 | 5.889 | 689723980.1358 | 31.0987 | 18.11 | 18.26 |  | 18.185 | 19595.9689 | 3919.1938 | 32.17 | 31.54 |  | 31.855 | 2.3604e-05 | 1398.0967 | 279.6193 | 0.071346
|  |  | Spike reference | NA | Cocentration 1: 15 ml; Cocentration 2: -80; Cocentration 8: 50 ml | NA | NA | NA |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 16.93 | 16.64 |  | 16.785 | 18.9366 | 2217857333.0956 | 100 | 28.18 | 28.35 |  | 28.265 | 12.9723 | 2.5945 | 32.03 | 32.03 |  | 32.03 | 2.1024e-05 | 1245.2933 | 249.0587 | 95.9962
degradation | East | 17-01-2021 | Composite | 24 h / each 10 min | 450 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Fernando | 20-01-2021 | 50 ml | Completely mixed | Adsorption | 7.27 | 4.3 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 18.29 | 18.13 |  | 18.21 | 7.2957 | 854470161.3146 | 52.5939 | 18.37 | 18.21 |  | 18.29 | 18157.2722 | 3631.4544 | 29.3 | 29.51 |  | 29.405 | 0.00011932 | 7067.326 | 1413.4652 | 0.38923
degradation | East | 17-01-2021 | Composite | 24 h / each 10 min | 400 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Fernando | 22-01-2021 | 50 ml | Completely mixed | Adsorption | 7.27 | 4.3 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 18.82 | 19.05 |  | 18.935 | 4.4907 | 525950526.0739 | 23.7144 | 19.05 | 18.84 |  | 18.945 | 11284.1536 | 2256.8307 | 29.77 | 30.32 |  | 30.045 | 7.814e-05 | 4628.3562 | 925.6712 | 0.41016
degradation | West | 17-01-2021 | Composite | 24 h / each 10 min | 450 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Fernando | 20-01-2021 | 50 ml | Completely mixed | Adsorption | 7.24 | 3.63 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 18.23 | 18.05 |  | 18.14 | 7.6456 | 895458310.0509 | 55.1168 | 18.66 | 19.06 |  | 18.86 | 12002.6541 | 2400.5308 | 29.91 | 29.47 |  | 29.69 | 9.8819e-05 | 5853.2094 | 1170.6419 | 0.48766
degradation | West | 17-01-2021 | Composite | 24 h / each 10 min | 400 ml | -20 | 18-01-2021 | Dominic Frigon | McGill University | Fernando | 22-01-2021 | 50 ml | Completely mixed | Adsorption | 7.24 | 3.63 |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 19.57 | 19.84 |  | 19.705 | 2.6821 | 314131672.8936 | 14.1637 | 19.85 | 19.76 |  | 19.805 | 6042.7143 | 1208.5429 | 30.55 | 30.88 |  | 30.715 | 5.0168e-05 | 2971.5392 | 594.3078 | 0.49176
|  |  | Spike reference 1 | NA | 15 ml | -80 | NA | Dominic Frigon | McGill University | Fernando | 20-01-2021 | 200 µl | Completely mixed | NA | NA | NA |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2021 | 17.25 | 17.25 |  | 17.25 | 13.8717 | 1624656785.6128 | 100 | 26.92 | 26.59 |  | 26.755 | 38.8382 | 7.7676 | 31.42 | 31.43 |  | 31.425 | 3.1368e-05 | 1858.005 | 371.601 | 47.8396
|  |  | Spike reference 2 |  | 15 ml | -80 | NA | Dominic Frigon | McGill University | Fernando | 22-01-2021 | 200 µl | Completely mixed | NA | NA | NA |  |  |  | 25-01-2021 | Allprep Powerviral RNA/DNA | 25-01-2022 | 16.93 | 16.64 |  | 16.785 | 18.9366 | 2217857333.0956 | 100 | 28.18 | 28.35 |  | 28.265 | 12.9723 | 2.5945 | 32.03 | 32.03 |  | 32.03 | 2.1024e-05 | 1245.2933 | 249.0587 | 95.9962
0
Note on Y64: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: duplicate Ct value too high
Note on AF65: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: duplicate had no Ct value
Note on AM67: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Duplicate Ct lacking
Note on AM68: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Duplicate Ct lacking
Note on AM72: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: duplicate no Ct value
Note on AL73: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Duplicate No Ct value
Note on Z74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Duplicate Ct too high
Note on AG74: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Duplicate Ct lacking
Note on L88: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Qpcr done by Fernando
Note on L100: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: RNA extraction done by Fernando
Note on C110: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 100 ml of sample 1
Note on C111: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 100 ml of sample 2

## Mtl Data Daily Samples (McGill)
[10 empty] | CONCENTRATION | [12 empty] | RNA Extraction | [5 empty] | PCR | [30 empty] | Conclusion | Access
[10 empty] | General |  |  |  |  | Key parametres | [7 empty] | Date of RNA extraction (YYYY-MM-DD) | Final elution in the extraction (µl) | Extracter/Worker | qualityFlag Extraction | assayMethod Extraction | Notes Extraction | Date of PCR (YYYY-MM-DD) | Final volume in the PCR (µl) | PCR/Worker | External control (BRSV) | [7 empty] | PMMV | [7 empty] | SARS-CoV-2 | [10 empty] | PCR Notes
dateTimeStart (YYYY-MM-DD HH:MM - 24h) | dateTimeEnd (YYYY-MM-DD HH:MM - 24h) | Label_ID | Collection Type | Sampling point | Sample Type | Sample Size (L) | Field Sample Temp | Shipped On Ice | Sampler/Worker | Concentration Date (YYYY-MM-DD) | Concentrated Volume (ml) | Fraction Analyzed | Concnetration Method | Concentrator/Worker | pH |  | Turbidity (NTU) | Conductivity (μS/cm) | TSS (mg/l) | qualityFlag Concentration | Notes Concentration | SpikeBatch_ID | [9 empty] | Ct | [5 empty] | gc/rxn | % recovery | Ct | [5 empty] | gc/rxn | gc/ml | Ct | [5 empty] | gc/rx | gc/ml | gc/normalized to PMMV | qualityFlag PCR | assayMethodID |  |  | accessToPublic | accessToAllOrg | accessToPHAC | accessToLocalHA | accessToProvHA | AccessToOtherProv | AcessToDetails
[15 empty] | Initial | Concentration | [15 empty] | 1 | 2 | 3 | Mean | Std Curve Slope | Std Curve Intercept |  |  | 1 | 2 | 3 | mean | Std Curve Slope | Std Curve Intercept |  |  | 1 | 2 | 3 | mean | Std Curve Slope | Std Curve Intercept
| 2021-02-26 | MTL_11_grb3_Raw | grb3 | 11-VSTL-ind | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 6.54 | 3.76 | 77.6 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 23.1975 | 23.0446 | 22.9987 | 23.0803 | -3.4411 | 48.9435 | 32812952.432 | 13.3814 | 25.096 | 24.9483 | 24.8591 | 24.9678 | -3.5035 | 40.6727 | 30381.0318 | 6076.2064 | 36.7314 | 39.1521 | 38.9434 | 38.2756 | -3.4617 | 42.391 | 15.4463 | 3.0893 | 0.00050842
| 2021-02-26 | MTL_11_cpTP24h_Raw | cpTP24h | 11-VSTL-ind | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 7.16 | 3.63 | 24.3 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 21.4823 | 21.4125 | 21.4149 | 21.4365 | -3.4411 | 48.9435 | 98564609.3042 | 40.1953 | 24.3514 | 24.2966 | 24.3012 | 24.3164 | -3.5035 | 40.6727 | 46614.8216 | 9322.9643 | 37.2612 | 37.9425 | 36.9794 | 37.3944 | -3.4411 | 48.9435 | 2271.2251 | 454.245 | 0.048723
| 2021-02-26 | MTL_05_grb3_Raw | grb3 | 05-CoteDNeige | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 7.65 | 4.32 | 102 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 22.6791 | 22.7954 | 22.5338 | 22.6694 | -3.4411 | 48.9435 | 43195362.2206 | 17.6154 | 27.1393 | 27.2286 | 27.1286 | 27.1655 | -3.5035 | 40.6727 | 7166.6706 | 1433.3341 | 35.1277 | 35.5056 | 35.3246 | 35.3193 | -3.4411 | 48.9435 | 9105.2659 | 1821.0532 | 1.2705
| 2021-02-26 | MTL_05_cpTP24h_Raw | cpTP24h | 05-CoteDNeige | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 7.5 | 4.5 | 62.4 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 22.0204 | 22.0447 | 22.1746 | 22.0799 | -3.4411 | 48.9435 | 64085587.6894 | 26.1346 | 27.1423 | 27.1799 | 27.3388 | 27.2203 | -3.5035 | 40.6727 | 6912.9976 | 1382.5995 | 32.5718 | 32.5578 | 32.6938 | 32.6078 | -3.4411 | 48.9435 | 55881.8499 | 11176.37 | 8.0836
| 2021-02-26 | MTL_16_grb3_Raw | grb3 | 16-Bordeau | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 8.9 | 3.78 | 90.2 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 21.7656 | 21.7638 | 21.7511 | 21.7602 | -3.4411 | 48.9435 | 79372322.5989 | 32.3686 | 27.8444 | 27.7761 | 27.6138 | 27.7448 | -3.5035 | 40.6727 | 4897.5619 | 979.5124 | 30.3926 | 30.5692 | 30.4555 | 30.4724 | -3.4411 | 48.9435 | 233256.0503 | 46651.2101 | 47.627
| 2021-02-26 | MTL_16_cpTP24h_Raw | cpTP24h | 16-Bordeau | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 8.57 | 4.46 | 63.3 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 22.6351 | 22.5395 | 22.5002 | 22.5583 | -3.4411 | 48.9435 | 46530626.1434 | 18.9755 | 27.9513 | 27.9475 | 27.8562 | 27.9183 | -3.5035 | 40.6727 | 4369.5714 | 873.9143 | 31.5422 | 31.4485 | 31.3615 | 31.4507 | -3.4411 | 48.9435 | 121207.0914 | 24241.4183 | 27.7389
| 2021-02-26 | MTL_12_grb3_Raw | grb3 | 12-Anjou-ind | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 8.08 | 3.88 | 53.5 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 21.8647 | 21.8919 | 22.0473 | 21.9347 | -3.4411 | 48.9435 | 70626215.5899 | 28.8019 | 28.5031 | 28.636 | 28.7383 | 28.6258 | -3.5035 | 40.6727 | 2744.7853 | 548.9571 | 38.3154 | 37.4882 | 38.5264 | 38.11 | -3.4411 | 48.9435 | 1406.9857 | 281.3971 | 0.5126
| 2021-02-26 | MTL_12_cpTP24h_Raw | cpTP24h | 12-Anjou-ind | RAW |  |  |  | City_MTL | 2021-02-26 | 50 | Mixed | 0.45um_alone | Betty | 7.88 | 3.54 | 40.4 |  |  |  |  | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 21.6221 | 21.5135 | 21.6554 | 21.597 | -3.4411 | 48.9435 | 88530816.6563 | 36.1035 | 27.6293 | 27.5887 | 27.88 | 27.6993 | -3.5035 | 40.6727 | 5045.9567 | 1009.1913 | 36.871 | 36.2772 | 35.6847 | 36.2776 | -3.4411 | 48.9435 | 4795.1184 | 959.0237 | 0.95029
|  | REFERENCE | REFERENCE | REFERENCE | REFERENCE | [5 empty] | 50 | [10 empty] | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 20.0875 | 20.0064 | 20.1296 | 20.0745 | -3.4411 | 48.9435 | 245214021.8212 | 100 | 34.581 | 34.3156 | 34.2943 | 34.397 | -3.5035 | 40.6727 | 61.8379 | 12.3676 | 37.0097 | 36.8314 | 37.1528 | 36.9979 | -3.4411 | 48.9435 | 2961.1981 | 592.2396 | 47.8865
|  | NEGATIVE | NEGATIVE | NEGATIVE | NEGATIVE | [5 empty] | 50 | [10 empty] | SpB_1 |  | 50 | Allie |  | 10% Beta Methanol |  | 2020-03-04 | 5 |  | 38.3792 | 39.1425 | 39.4215 | 38.981 | -3.4411 | 48.9435 | 785.5363 | 0.00032035 | 36.0534 | 36.975 | 36.4026 | 36.477 | -3.5035 | 40.6727 | 15.7599 | 3.152 | 37.1211 | 37.6386 | 37.0945 | 37.2847 | -3.4411 | 48.9435 | 2444.1658 | 488.8332 | 155.0878
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
[22 empty] | SpB_2 | [12 empty] | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  |  |  | #DIV/0! |  |  | #DIV/0! | #DIV/0! | #DIV/0!
Note on AA2: Dominic Frigon: Was there any problem with RNA extraction? If not leave blank
Note on AB2: atsit: List Qianken Kits_MOD
Note on B3: Dominic Frigon: Grab Sampling: Enter date in dateTimeEnd and leave empty dateTimeStart
Note on G3: Dominic Frigon: Amount of sample received.
Note on H3: Dominic Frigon: If not available, leave blank
Note on U3: Dominic Frigon: Was there any problem with concentration? Leave blank if not problem.
Note on V3: Dominic Frigon: Record any departure from typical analyses and observations.
Note on W3: atsit: Identify batches analyzed with the same spike
Note on AN3: atsit: Recovery calculated from the reference.
Note on BF3: Dominic Frigon: Was there any problem with the RT-qPCR?
Note on BG3: atsit: To note targetting variants in the future

## Mtl_values
[10 empty] | CONCENTRATION | [12 empty] | (DoF: ADD REG DATA) | [20 empty] | PCR | [8 empty] | PCR Notes | Conclusion | Access
[10 empty] | General |  |  |  |  | Key parametres | [7 empty] | Date of RNA extraction (YYYY-MM-DD) | Final elution in the extraction (µl) | Extracter/Worker | qualityFlag Extraction | assayMethod Extraction | Notes Extraction | Date of PCR (YYYY-MM-DD) | Final volume in the PCR (µl) | PCR/Worker | External control (BRSV) | [5 empty] | PMMV | [5 empty] | SARS-CoV-2
dateTimeStart (YYYY-MM-DD HH:MM - 24h) | dateTimeEnd (YYYY-MM-DD HH:MM - 24h) | Label_ID | Collection Type | Sampling point | Sample Type | Sample Size (L) | Field Sample Temp | Shipped On Ice | Sampler/Worker | Date (YYYY-MM-DD) | Concentrated Volume (ml) | Fraction Analyzed | Concnetration Method | Concentrator/Worker | pH |  | Turbidity (NTU) | Conductivity (μS/cm) | TSS (mg/l) | qualityFlag Concentration | Notes Concentration | SpikeBatch_ID | [9 empty] | Ct |  |  |  | gc/rxn | % recovery | Ct |  |  |  | gc/rxn | gc/ml | Ct |  |  |  | gc/rx | gc/ml | gc/normalized to PMMV | qualityFlag PCR | assayMethodID |  |  | accessToPublic | accessToAllOrg | accessToPHAC | accessToLocalHA | accessToProvHA | AccessToOtherProv | AcessToDetails
[15 empty] | Initial | Concentration | [15 empty] | 1 | 2 | 3 | Mean |  |  | 1 | 2 | 3 | mean |  |  | 1 | 2 | 3 | mean
|  | MTL_11_cpTP24h_Raw | cpTP24h | 11-VSTL-ind | RAW |  |  | Yes | City_MTL |  | 50 | Mixed | 0.45um_alone | List Worker Names | [5 empty] | PossibleProblem |  | SpB_# |  | 50 |  | PossibleProblem | Qiagen Kit |  |  | 5 | [20 empty] | PossibleProblem
|  | MTL_11_grb3_Raw | grb3 | 05-CoteDNeige | Qtips |  |  | No |  |  | 100 | Solids | Centrifuge_0.45um | [13 empty] | 10% Beta Methanol
|  | MTL_11_PS_Qtips | PS | 16-Bordeau | Filter | [6 empty] | Liquid | Centrifuge_alone
|  | MTL_11_PS_Filter |  | 12-Anjou-ind | Gauze | [7 empty] | 5um_0.45um
|  | MTL_11_PS_Gauze |  | 8.1-MtlNord-Est
|  | MTL_05_cpTP24h_Raw |  | 8.2-MtlNord-Est
|  | MTL_05_grb3_Raw |  | 01-IntNord
|  | MTL_05_PS_Qtips |  | 02-IntSud
MTL_05_PS_Filter
MTL_05_PS_Gauze
MTL_16_cpTP24h_Raw
MTL_16_grb3_Raw
MTL_16_PS_Qtips
MTL_16_PS_Filter
MTL_16_PS_Gauze
MTL_12_cpTP24h_Raw
MTL_12_grb3_Raw
MTL_12_PS_Qtips
MTL_12_PS_Filter
MTL_12_PS_Gauze
MTL_8.1_cpTP24h_Raw
MTL_8.1_grb3_Raw
MTL_8.1_PS_Qtips
MTL_8.1_PS_Filter
MTL_8.1_PS_Gauze
MTL_8.2_cpTP24h_Raw
MTL_8.2_grb3_Raw
MTL_8.2_PS_Qtips
MTL_8.2_PS_Filter
MTL_8.2_PS_Gauze
MTL_01_cpTP24h_Raw
MTL_01_grb3_Raw
MTL_01_PS_Qtips
MTL_01_PS_Filter
MTL_01_PS_Gauze
MTL_02_cpTP24h_Raw
MTL_02_grb3_Raw
MTL_02_PS_Qtips
MTL_02_PS_Filter
MTL_02_PS_Gauze
REFERENCE
NEGATIVE
Note on AA2: Dominic Frigon: Was there any problem with RNA extraction?
Note on B3: Dominic Frigon: Grab Sampling: Enter date in dateTimeEnd and leave empty dateTimeStart
Note on G3: Dominic Frigon: Amount of sample received.
Note on H3: Dominic Frigon: If not available, leave blank
Note on U3: Dominic Frigon: Was there any problem with concentration? Leave blank if not problem.
Note on V3: Dominic Frigon: Record any departure from typical analyses and observations.
Note on AZ3: Dominic Frigon: Was there any problem with the RT-qPCR?

## STD_Curves_McGill
Virus | Date | 1 |  |  | 2 |  |  | 3 |  |  | 4 |  |  | 5 |  |  | 6 |  |  | 7 |  |  | 8 |  |  | 9 |  |  | 10 |  |  | Avg_Cq-1 | Avg_Cq-2 | Avg_Cq-3 | Avg_Cq-4 | Avg_Cq-5 | Avg_Cq-6 | Avg_Cq-7 | Avg_Cq-8 | Avg_Cq-9 | Avg_Cq-10 | Conc_M-1 | Conc_M-2 | Conc_M-3 | Conc_M-4 | Conc_M-5 | Conc_M-6 | Conc_M-7 | Conc_M-8 | Conc_M-9 | Conc_M-10 | Conc_GC-1 | Conc_GC-2 | Conc_GC-3 | Conc_GC-4 | Conc_GC-5 | Conc_GC-6 | Conc_GC-7 | Conc_GC-8 | Conc_GC-9 | Conc_GC-10 | Log_GC-1 | Log_GC-2 | Log_GC-3 | Log_GC-4 | Log_GC-5 | Log_GC-6 | Log_GC-7 | Log_GC-8 | Log_GC-9 | Log_GC-10 | Intercept | Slope | R2 | Efficiency
|  | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Ct1 | Ct2 | Ct3 | Average Cq | Average Cq | Average Cq | Average Cq | Average Cq | Average Cq | Average Cq | Average Cq | Average Cq | Average Cq | ng/rxn | ng/rxn | ng/rxn | ng/rxn | ng/rxn | ng/rxn | ng/rxn | ng/rxn | ng/rxn | ng/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | gc/rxn | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Log(gc) | Cq | Cq/Log(gc)
SARS-CoV-2 | [31 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  | 10 | 1 | 0.1 | 0.01 | 0.001 | 0.0001 | 1e-05 | 1e-06 | 1e-07 |  | 592317119.4706 | 59231711.9471 | 5923171.1947 | 592317.1195 | 59231.7119 | 5923.1712 | 592.3171 | 59.2317 | 5.9232 |  | 8.7726 | 7.7726 | 6.7726 | 5.7726 | 4.7726 | 3.7726 | 2.7726 | 1.7726 | 0.77255 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
PMMV | [31 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [10 empty] | 10000000000 | 1000000000 | 100000000 | 10000000 | 1000000 | 100000 | 10000 | 1000 | 100 | 10 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
BRSV | [31 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | [5 empty] | 100 | 10 | 1 | 0.1 | 0.01 | [5 empty] | 11712000809.052 | 1171200080.9052 | 117120008.0905 | 11712000.8091 | 1171200.0809 | [5 empty] | 10.0686 | 9.0686 | 8.0686 | 7.0686 | 6.0686 | [5 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
BRSV | [31 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  |  | 50 | 5 | 0.5 | 0.05 | 0.005 | 0.0005 | 5e-05 |  |  |  | 5856000404.526 | 585600040.4526 | 58560004.0453 | 5856000.4045 | 585600.0405 | 58560.004 | 5856.0004 |  |  |  | 9.7676 | 8.7676 | 7.7676 | 6.7676 | 5.7676 | 4.7676 | 3.7676 |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Graphs Montreal VSTL-III (hidden)
Date | COVID19 new cases (by lab) | VSTL-III
SARS-CoV-2 (gc/ml)
|  | Grab | Composite
2021-02-15 | 317
2021-02-16 | 412
2021-02-17 | 331
2021-02-18 | 375
2021-02-19 | 394
2021-02-20 | 392
2021-02-21 | 404
2021-02-22 | 259
2021-02-23 | 417
2021-02-24 | 410
2021-02-25 | 389
2021-02-26 | 399 | 3.0893 | 5.5518
2021-02-27 | 324 |  |  | Weekend
2021-02-28 | 248 |  |  | Weekend
2021-03-01 | 259 | 8.9323 | 9.8647
2021-03-02 | 391
2021-03-03 | 306 | 8.8944 | 12.233
2021-03-04 | 371 | 3.7857 | 19.2295
2021-03-05 | 281
2021-03-06 | 393
2021-03-07 | 277
2021-03-08 | 158
LOD

## Graphs Montreal CDN05 (hidden)
CDN-05
SARS-CoV-2 (gc/ml)
Date | COVID19 new cases | Grab | Composite
2021-02-15 | 317
2021-02-16 | 412
2021-02-17 | 331
2021-02-18 | 375
2021-02-19 | 394
2021-02-20 | 392
2021-02-21 | 404
2021-02-22 | 259
2021-02-23 | 417
2021-02-24 | 410
2021-02-25 | 389
2021-02-26 | 399 | 22.0734 | 134.0144
2021-02-27 | 324
2021-02-28 | 248
2021-03-01 | 259 | 25.447 | 126.715
2021-03-02 | 391
2021-03-03 | 306 | 39.7928 | 87.2323
2021-03-04 | 371 | 74.4618 | 19.0047
2021-03-05 | 281
2021-03-06 | 393
2021-03-07 | 277
2021-03-08 | 158